{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["抽查结果"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"抽查结果","index":0,"n_rows":20,"n_cols":8,"rows_kept":20,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["咸宁高新区一季度双随机抽查结果","抽查结果","抽查结果","抽查结果","抽查结果","抽查结果"]
["污染源名称","法人代表","环保联系人","环保联系人电话","是否重点源","检查人","检查结果","处理建议"]
["湖北松源硅藻新材料科技有限公司","高树谦","祖致耀","13501225554","否","彭克徐,李建华","该企业因市场原因目前已停产，未发现环境违法行为。"]
["湖北窗世界遮阳技术有限责任公司","孙颁华","孙颁华","18071266472","否","黄伟,饶辉","该企业主要以加工窗帘为主，生产过程中无废水和废气产生，只有一些边角料产生，边角料属于一般固废，并由专人负责回收处置。"]
["红牛维他命饮料（湖北）有限公司","张立刚","刘青山","18608682255","是","刘仁燕,彭克徐","现场检查污水处理设施运行正常，在线自动监控数据正常并稳定达标排放，无环境违法行为。"]
["咸宁开泰酒业有限公司","王格伟","龚铁军","13307249561","否","饶辉,黄伟","该企业正在进行设备安装未生产，经现场检查无环境违法行为。"]
["咸宁南玻光电玻璃有限公司","何进","李兵","13886975687","是","刘仁燕,李建华","1、该企业正常生产，废气处理设施正常运行，排放浓度符合排放标准。2、在线设施氮氧化物排放浓度限值设定值偏低，容易导致在线设施不正常运行。","立即联系运维单位，合理设置量程，并上报变更报告。"]
["咸宁市铭德工贸有限公司","邓丽梅","杨秋","15997940210","否","刘仁燕,李建华","危废暂存间建设不规范","限4月20日之前完成危废暂存间整改工作。"]
["湖北中震科技集团有限公司","蒋跃","丁明","17771526822","否","彭克徐,饶辉","经现场检查危废规范暂存、处置，无环境违法行为。"]
["博洛尼家居用品湖北有限公司","孟庆贺","吴海鸿","13617150016","否","黄伟,刘仁燕","1.新建车间有少量手工补漆工序未在喷漆房进行；2.新建车间项目未开展环保竣工验收。","1.立即停止不符合规范要求的补漆作业，2.新建车间尽快开展环保竣工验收。"]
["咸宁仓禾日用品有限公司","周旸","周旸","15872766688","否","李建华,饶辉","该企业主要以无纺布加工为主，无废水和废气产生，只有少量包装物，并有专人每日定期清理。无环境违法问题。"]
["咸宁南玻玻璃有限公司","何进","秦继锋","18171870921","是","黄伟,彭克徐","该企业目前正在对余热锅炉进行检修，预计于2022年3月16日完成检修。该企业于2022年3月12日向高新区分局报备。","确保安全的前提下加快完成检修，并保证环保设施正常安全运行。"]
["湖北浩和智能包装科技有限公司","黄文健","宋宏来","18671501598","否","黄伟,彭克徐","1、危废标识不规范。2、部分危废未及时入库。","立即按照要求进行整改。"]
["立邦涂料（湖北）有限公司","钟中林","肖枚","18872828425","是","饶辉,刘仁燕","1、废原料吨桶因疫情原因，处置单位未及时转运，临时堆放在危废暂存间门口；2、腻子粉3车间配套的除尘设施正在进行检修，期间有粉尘不断从高处洒落；3、废水在线设施水样混合采样器工作日志出现多次无法采取水样。","1、立即采取有效防范措施，提高企业固废管理水平，规范管理各项固废暂存、转移和处置工作；2、加强设备维修期间的防护工作，避免造成次生污染；3、立即联系在线运维单位，排查故障报警原因，确保在线设施正常运行。"]
["湖北兴翔橡塑科技有限公司","柯常兴","柯常兴","18986624999","否","李建华,彭克徐","1.厂区有废料加工点未办理相关手续；2.锅炉除尘效果不好；3.有组织废气收集不完善；4、验收工作还未完成。","1、立即停止废料加工区域生产并将环评批复之外的废料加工设施拆除，擅自恢复生产将依法依规立案查处。2、对锅炉除尘设施进行整改，确保废气达标排放；3、对有组织废气处理设施进行整改，确保收集效率达到使用要求；4、加快验收工作进度，在2022年6月30日前完成验收公示。"]
["申江压力容器（武汉）有限公司","陈继柱","黄学军","15807309102","否","黄伟,李建华","该企业主要以生产加工压力容器为主，项目于2021年7月份正式投入使用生产，该企业主要有焊接、喷漆、喷粉工艺。目前射线探伤装置已完成验收工作，正在进行公示 。该企业需要配套的环保设施还未完全建设完毕，喷漆房正在与第三方公司对接建设方案。","加快环保配套设施的建设，在相关配套设施完成建设、调试前相应的生产工艺不得投入使用，并迅速联系验收单位做好项目整体验收对接工作，以便更好完成验收工作，验收工作在2022年6月30日前完成公示。"]
["湖北天化麻业股份有限公司","李光凡","董兵","13797799505","否","饶辉,刘仁燕","经现场检查收尘处理设施运行台账记录不规范，除尘效果措施有待加强。"]
["咸宁市华福包装材料有限公司","黄葵生","黄华军","13367150515","否","饶辉,刘仁燕","现场检查发现：1、涂布机操作间门窗未关闭，影响废气收集效率。2、危废暂存间标识标牌存在偏差，与规范样式不符。","1、加强车间工人的环保知识培训教育，严格执行各项环保管理制度。2、立即更换符合环境管理要求的标识标牌以及相关管理制度牌。"]
["金士达医疗（咸宁）有限公司","刘春华","罗春雷","17720324988","是","黄伟,李建华","该企业是疫情防控正面清单企业，现场检查时污水处理设施正常运行，自行监测设备数据正常上传，未发现环境违法问题。"]
["武汉喜玛拉雅光电科技股份有限公司","郭桂华","李厚情","13657282582","否","彭克徐,刘仁燕","该企业危废暂存间标识标牌及台账管理不规范。","按照规定要求尽快规范危废管理。"]